{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["設計内容（入力用）","別紙（その他自由記載欄）","設計内容（記入例）","バージョン情報"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":4,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"設計内容（入力用）","index":0,"n_rows":146,"n_cols":58,"rows_kept":146,"cut":false,"hidden":false,"merged":[[133,2,133,6],[65,1,73,3],[65,4,73,5],[134,8,134,9],[134,10,134,42],[133,8,133,9],[133,11,133,12],[133,14,133,15],[133,41,133,42],[133,17,133,18],[117,21,117,23],[113,20,113,24],[113,25,113,42],[114,20,114,24],[114,25,114,42],[144,2,144,20],[144,21,144,28],[144,29,144,31],[145,21,145,28],[145,29,145,31],[134,2,136,6],[135,7,135,42],[136,7,136,42],[138,1,138,42],[139,1,139,42],[127,1,127,4],[125,1,125,4],[125,7,125,19],[125,21,125,42],[126,1,126,4],[126,7,126,19],[126,21,126,23],[126,25,126,41],[133,20,133,21],[127,6,127,19],[127,20,127,42],[128,1,128,4],[128,6,128,19],[128,20,128,42],[129,1,129,4],[129,6,130,19],[129,20,129,42],[130,1,130,4],[133,35,133,36],[133,38,133,39],[133,23,133,24],[133,26,133,27],[133,29,133,30],[133,32,133,33],[122,1,122,4],[122,6,122,19],[122,20,122,42],[123,1,123,4],[123,6,123,19],[123,20,123,42],[124,1,124,4],[124,6,124,19],[124,21,124,42],[118,1,118,4],[118,6,118,19],[119,1,119,4],[119,7,119,19],[119,20,119,42],[120,1,120,4],[120,7,120,19],[121,1,121,4],[121,6,121,19],[121,20,121,42],[115,21,115,42],[117,1,117,4],[116,21,116,42],[115,6,117,19],[111,1,111,4],[111,6,111,19],[111,20,111,24],[111,25,111,42],[112,6,112,19],[96,30,96,34],[96,35,96,42],[97,9,97,20],[97,21,97,24],[97,25,97,29],[97,30,97,34],[97,35,97,42],[98,6,98,8],[98,9,98,20],[98,21,98,24],[98,25,98,29],[98,30,98,34],[98,35,98,42],[92,1,98,3],[92,4,98,5],[92,9,92,20],[92,21,92,24],[92,25,92,29],[92,30,92,34],[92,35,92,42],[93,9,93,20],[93,21,93,24],[93,25,93,29],[93,30,93,34],[93,35,93,42],[94,9,95,20],[94,21,95,24],[94,25,94,29],[94,30,94,34],[94,35,94,42],[95,6,95,8],[95,25,95,29],[95,30,95,34],[95,35,95,42],[96,9,96,20],[96,21,96,24],[96,25,96,29],[90,1,91,3],[90,4,91,5],[90,9,91,20],[90,21,91,24],[90,25,90,29],[90,30,90,34],[90,35,91,42],[91,6,91,8],[91,25,91,29],[91,30,91,34],[87,35,87,42],[88,9,88,20],[88,21,88,24],[88,25,88,29],[88,30,88,34],[88,35,88,42],[89,6,89,8],[89,9,89,20],[89,21,89,24],[89,25,89,29],[89,30,89,34],[89,35,89,42],[83,35,83,42],[84,9,84,20],[84,21,86,24],[84,25,84,29],[84,30,84,34],[84,35,86,42],[85,9,85,20],[85,25,85,29],[85,30,85,34],[86,9,86,20],[86,25,86,29],[86,30,86,34],[82,6,82,8],[82,9,82,20],[82,25,82,29],[82,30,82,34],[83,1,89,3],[83,4,89,5],[83,9,83,20],[83,21,83,24],[83,25,83,29],[83,30,83,34],[87,9,87,20],[87,21,87,24],[87,25,87,29],[87,30,87,34],[79,9,79,20],[79,21,82,24],[79,25,79,29],[79,30,79,34],[79,35,82,42],[80,9,80,20],[80,25,80,29],[80,30,80,34],[81,9,81,20],[81,25,81,29],[81,30,81,34],[77,16,77,19],[77,25,77,29],[77,30,77,34],[77,35,77,42],[78,9,78,20],[78,21,78,24],[78,25,78,29],[78,30,78,34],[78,35,78,42],[73,6,73,8],[73,9,73,20],[73,21,73,24],[73,25,73,29],[73,30,73,34],[73,35,73,42],[74,1,82,3],[74,4,82,5],[74,9,74,20],[74,21,74,24],[74,25,74,29],[74,30,74,34],[76,9,76,20],[76,21,77,24],[76,25,76,29],[76,30,76,34],[74,35,74,42],[75,9,75,20],[75,21,75,24],[75,25,75,29],[75,30,75,34],[75,35,75,42],[76,35,76,42],[77,11,77,14],[71,35,71,42],[72,9,72,20],[72,21,72,24],[72,25,72,29],[72,30,72,34],[72,35,72,42],[71,9,71,20],[71,21,71,24],[71,25,71,29],[71,30,71,34],[68,9,68,20],[68,21,68,24],[68,25,68,29],[68,30,68,34],[68,35,68,42],[69,35,69,42],[70,9,70,20],[70,21,70,24],[70,25,70,29],[70,30,70,34],[70,35,70,42],[69,9,69,20],[69,21,69,24],[69,25,69,29],[69,30,69,34],[64,30,64,34],[64,35,64,42],[65,6,67,8],[65,9,65,20],[65,21,65,24],[65,25,65,29],[67,9,67,20],[67,21,67,24],[67,25,67,29],[65,30,65,34],[65,35,65,42],[66,9,66,20],[66,21,66,24],[66,25,66,29],[66,30,66,34],[66,35,66,42],[67,30,67,34],[67,35,67,42],[59,35,59,42],[60,9,60,20],[60,21,60,24],[60,25,60,29],[60,30,60,34],[60,35,60,42],[61,30,61,34],[61,35,61,42],[62,4,64,5],[62,6,62,8],[62,9,62,20],[62,21,62,24],[62,25,62,29],[62,30,62,34],[62,35,62,42],[63,9,63,20],[63,21,63,24],[63,25,63,29],[63,30,63,34],[63,35,63,42],[64,6,64,8],[64,9,64,20],[64,21,64,24],[64,25,64,29],[59,4,61,5],[59,6,59,8],[59,9,59,20],[59,21,59,24],[59,25,59,29],[59,30,59,34],[61,6,61,8],[61,9,61,20],[61,21,61,24],[61,25,61,29],[56,25,56,29],[56,30,56,34],[56,35,56,42],[57,9,57,20],[57,21,57,24],[57,25,57,29],[57,30,57,34],[57,35,57,42],[58,6,58,8],[58,9,58,20],[58,21,58,24],[58,25,58,29],[58,30,58,34],[58,35,58,42],[52,6,52,8],[52,9,52,20],[52,21,52,24],[52,25,52,29],[52,30,52,34],[52,35,52,42],[53,4,58,5],[53,6,55,8],[53,9,53,20],[53,21,53,24],[53,25,53,29],[53,30,53,34],[53,35,53,42],[54,9,54,20],[54,21,54,24],[54,30,54,34],[54,35,54,42],[55,9,55,20],[55,21,55,24],[55,25,55,29],[55,30,55,34],[55,35,55,42],[56,9,56,20],[56,21,56,24],[48,30,48,34],[48,35,48,42],[49,9,49,20],[49,21,51,24],[49,25,49,29],[49,30,49,34],[49,35,49,42],[50,9,50,20],[50,25,50,29],[50,30,50,34],[50,35,50,42],[51,9,51,20],[51,25,51,29],[51,30,51,34],[51,35,51,42],[44,35,44,42],[45,6,45,8],[45,9,45,20],[45,21,45,24],[45,25,45,29],[45,30,45,34],[45,35,45,42],[46,1,64,3],[46,4,52,5],[46,6,48,8],[46,9,46,20],[46,21,46,24],[46,25,46,29],[48,9,48,20],[48,21,48,24],[48,25,48,29],[54,25,54,29],[46,30,46,34],[46,35,46,42],[47,9,47,20],[47,21,47,24],[47,25,47,29],[47,30,47,34],[47,35,47,42],[41,35,42,42],[42,9,42,20],[42,25,42,29],[42,30,42,34],[43,9,43,20],[43,21,43,24],[43,25,43,29],[43,30,43,34],[43,35,43,42],[40,6,40,8],[40,11,40,13],[40,15,40,17],[40,25,40,29],[40,30,40,34],[41,4,45,5],[41,6,43,8],[41,9,41,20],[41,21,42,24],[41,25,41,29],[41,30,41,34],[44,9,44,20],[44,21,44,24],[44,25,44,29],[44,30,44,34],[34,35,35,42],[35,6,35,8],[35,11,35,13],[35,15,35,17],[35,25,35,29],[35,30,35,34],[36,4,40,5],[36,6,38,8],[36,9,36,20],[36,21,38,24],[36,25,36,29],[36,30,36,34],[39,9,39,20],[39,21,40,24],[39,25,39,29],[39,30,39,34],[36,35,38,42],[37,9,37,20],[37,25,37,29],[37,30,37,34],[38,9,38,20],[38,25,38,29],[38,30,38,34],[39,35,40,42],[32,25,32,29],[32,30,32,34],[33,9,33,20],[33,25,33,29],[33,30,33,34],[34,9,34,20],[34,21,35,24],[34,25,34,29],[34,30,34,34],[27,30,27,34],[27,35,27,42],[26,25,26,29],[28,21,28,24],[28,25,28,29],[28,30,28,34],[28,35,28,42],[29,1,45,3],[29,4,35,5],[29,6,32,8],[29,9,29,20],[29,21,30,24],[29,25,29,29],[29,30,29,34],[29,35,30,42],[30,9,30,20],[30,25,30,29],[30,30,30,34],[31,9,31,20],[31,21,33,24],[31,25,31,29],[31,30,31,34],[31,35,33,42],[32,9,32,20],[24,30,24,34],[24,35,24,42],[25,9,25,20],[25,21,25,24],[25,25,25,29],[25,30,25,34],[25,35,25,42],[26,30,26,34],[26,35,26,42],[24,1,28,3],[24,4,28,5],[24,6,28,8],[24,9,24,20],[24,21,24,24],[24,25,24,29],[26,9,26,20],[26,21,26,24],[28,9,28,20],[27,9,27,20],[27,21,27,24],[27,25,27,29],[18,24,18,30],[17,23,17,30],[22,1,23,3],[22,4,23,5],[22,6,22,42],[23,6,23,8],[23,9,23,24],[23,30,23,34],[23,35,23,42],[7,1,18,3],[7,4,18,7],[16,8,18,13],[7,37,18,39],[17,33,18,36],[14,8,15,13],[14,15,14,31],[15,15,15,31],[13,15,13,17],[13,19,13,24],[13,27,13,31],[12,15,12,19],[12,21,12,25],[12,27,12,31],[7,40,7,42],[10,15,10,19],[10,21,10,25],[10,27,10,31],[11,15,11,19],[8,15,8,19],[8,21,8,25],[8,33,8,35],[9,15,9,19],[11,21,11,25],[9,21,9,25],[9,27,9,31],[9,33,9,36],[7,8,7,13],[7,15,7,19],[7,33,7,35],[8,8,13,13],[8,27,8,31],[11,27,11,31],[101,9,101,20],[102,9,102,20],[103,9,103,20],[100,9,100,20],[100,21,100,24],[104,9,104,20],[104,21,104,24],[0,1,0,37],[0,39,0,42],[1,1,1,11],[1,13,1,41],[2,1,2,11],[2,13,2,41],[5,37,6,39],[5,40,6,42],[6,8,6,13],[6,14,6,31],[99,1,105,3],[99,4,105,5],[5,1,6,3],[99,21,99,24],[101,21,101,24],[5,4,6,7],[5,8,5,36],[100,30,100,34],[100,35,100,42],[103,35,103,42],[104,25,104,29],[104,30,104,34],[103,25,103,29],[103,30,103,34],[104,35,104,42],[16,33,16,36],[99,25,99,29],[99,30,99,34],[99,35,99,42],[101,25,101,29],[101,30,101,34],[101,35,101,42],[100,25,100,29],[21,14,21,42],[23,25,23,29],[102,21,102,24],[103,21,103,24],[102,25,102,29],[102,30,102,34],[102,35,102,42],[99,9,99,20],[144,32,144,38],[145,32,145,38],[144,39,144,41],[145,39,145,41],[105,25,105,29],[105,30,105,34],[105,35,105,42],[117,25,117,41],[142,2,142,42],[143,2,143,42],[105,21,105,24],[105,6,105,8],[105,9,105,20],[112,20,112,24],[112,25,112,42],[107,1,107,12],[109,1,109,4],[109,5,109,19],[109,20,109,42],[110,1,110,4],[110,6,110,19],[110,20,110,24],[110,25,110,42],[115,1,115,4]]}
[null,"設計内容説明書【詳細版】 モデル建物法用（省エネ適合性判定・ＢＥＬＳ兼用）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ver.2.1",null,null,null,null,null,"⇒列　非表示にする"]
[null,"建築物の名称",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設定"]
[null,"設計者（等）氏名",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・黄色部分を入力可能"]
[]
[null,"【基本事項】"]
[null,"確認\n事項",null,null,"確認\n項目",null,null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"備考",null,null,"確認欄\n（※2）"]
[null,null,null,null,null,null,null,null,"項目",null,null,null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
[null,"建物等の概要",null,null,"計算条件",null,null,null,"適用する計算方法",null,null,null,null,null,"☑","モデル建物法",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","出力票",null,null,null,null,null,null,"□適"]
[null,null,null,null,null,null,null,null,"申請の対象となるモデル建物用途\n（複数選択可能）",null,null,null,null,null,"□","事務所",null,null,null,null,"□","ﾋﾞｼﾞﾈｽﾎﾃﾙ",null,null,null,null,"□","シティホテル",null,null,null,null,"□","出力票"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","総合病院",null,null,null,null,"□","福祉施設",null,null,null,null,"□","クリニック",null,null,null,null,"□",null,null,null,null,null,null,null,null,null,null,null,null,null,85]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","大規模物販",null,null,null,null,"□","小規模物販",null,null,null,null,"□","学校"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","大学",null,null,null,null,"□","講堂",null,null,null,null,"□","幼稚園"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","飲食店",null,null,null,null,"□","工場",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"【集会所プルダウン表示】"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","集会所",null,null,"（",null,null,null,null,null,null,"）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"アスレチック場","体育館","公衆浴場","映画館","図書館","博物館","劇場","カラオケボックス","ボーリング場","ぱちんこ屋","競馬場又は競輪場","寺社"]
[null,null,null,null,null,null,null,null,"モデル建物を選択した根拠",null,null,null,null,null,"□","建築基準法における建築物用途からモデル建物を選択",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"使い方"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","実際の建築物の状況に応じてモデル建物を選択",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"図面名はデフォルトとしてもらってよい"]
[null,null,null,null,null,null,null,null,"既存部分の\nﾃﾞﾌｫﾙﾄ値又は制度の結果利用（※1）",null,null,null,null,null,"□","無",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"出力票",null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","有",null,"既存部分のBEI",null,null,null,null,"（",null,null,null,null,null,null,null,null,")","□","副本及び通知書等の写し",null,null,null,null,null,null,null,null,null,null,null,null,null,"1.2 ※デフォルト値","1.1　※2016年4月1日以降に新築"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"結果利用する制度",null,null,null,null,null,"（",null,null,null,null,null,null,null,"）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"省エネ適合性判定","届出","性能向上計画認定","表示認定","低炭素建築物認定","BELS"]
[null,"※1…既存建築物の場合のみ記入（BELSの場合は不可）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※2…評価機関記入欄"]
[]
[null,"【設計内容】",null,null,null,null,null,null,null,null,null,null,null,null,"※3…記載図書の補足として活用（図書名のみでは記載内容が分かりづらい場合、図番を具体的に記載）"]
[null,"確認\n事項",null,null,"ｼｰﾄ\n種別",null,"設計内容説明欄"]
[null,null,null,null,null,null,"項目",null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"主な記載図書名",null,null,null,null,"主な記載図番No（※3）",null,null,null,null,"備考（図面の明示内容、他）"]
[null,"計算\n対象\n部分",null,null,"様式\nＡ",null,"長さ・面積等",null,null,"⑩計算対象部分の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑪計算対象部分空調対象面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","空調平面図","空調対象面積求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑬計算対象部分の階高",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"断面図(意匠)","矩計図","立面図","断面図"]
[null,null,null,null,null,null,null,null,null,"⑭計算対象部分の外周長さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑮計算対象部分の非空調コア部",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,"躯体の外皮性能等",null,null,"様式\nB-1",null,"開口部の性能",null,null,"・②③幅×高さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具表","仕様書","立面図"]
[null,null,null,null,null,null,null,null,null,"・④面積"]
[null,null,null,null,null,null,null,null,null,"・⑤⑥建具の種類・ｶﾞﾗｽの種類",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具表","仕様書","立面図","カタログ等"]
[null,null,null,null,null,null,null,null,null,"・⑤⑦⑧建具の種類・ｶﾞﾗｽの熱貫流率・ｶﾞﾗｽの日射熱取得率"]
[null,null,null,null,null,null,null,null,null,"・⑨⑩窓の熱貫流率・窓の日射熱取得率"]
[null,null,null,null,null,null,"□","B-1",null,"建具仕様の根拠　",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"建具表","根拠資料一覧表","カタログ等","仕様書(建具)","仕様書"]
[null,null,null,null,null,null,"該当なし",null,null,"（","□","JIS等による",null,null,"□","仕様による",null,null,"）"]
[null,null,null,null,"様式\nB-2",null,"外壁等の性能",null,null,"・③④⑥（断熱材の種類・厚み）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","断面図","断熱範囲図","カタログ等"]
[null,null,null,null,null,null,null,null,null,"・⑤⑥（断熱材の熱伝導率・厚み）"]
[null,null,null,null,null,null,null,null,null,"・⑦（外壁等の熱貫流率）"]
[null,null,null,null,null,null,"□","B-2",null,"断熱材仕様の根拠　",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","矩計図","断面図"]
[null,null,null,null,null,null,"該当なし",null,null,"（","□","JIS等による",null,null,"□","仕様による",null,null,"）"]
[null,null,null,null,"様式\nB-3",null,"外皮の仕様及び面積",null,null,"・③④幅×高さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"立面図","断面図","断熱範囲図"]
[null,null,null,null,null,null,null,null,null,"・⑤面積"]
[null,null,null,null,null,null,null,null,null,"⑧建具等個数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(建具)","平面図","建具配置図","平面図(省エネ)"]
[null,null,null,null,null,null,"□","B-3",null,"⑨ブラインドの有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"建具表","平面図","ブラインド配置図","建具配置図"]
[null,null,null,null,null,null,"該当なし",null,null,"⑩日除け効果係数（冷房・暖房）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"算出ﾂｰﾙ+立面図","算出ﾂｰﾙ+断面図","算出ﾂｰﾙ+建具表"]
[null,"空調\n設備",null,null,"様式\nC-1",null,"空調熱源",null,null,"②選択可能熱源機種名",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"熱源機種の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"③台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"④熱源能力（定格能力/台）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"⑤熱源能力（定格消費電力/台）"]
[null,null,null,null,null,null,"□","C-1",null,"⑥熱源能力（定格燃料消費量/台）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,null,null,null,null,"該当なし",null,null,"熱源能力値の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)","機器表"]
[null,null,null,null,"様式\nC-2",null,"空調外気処理",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"③④設計給気風量・設計排気風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"⑤⑥全熱交換効率（冷房時）（暖房時）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"全熱交換効率の根拠　（･JIS B 8628による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"□","C-2",null,"⑦全熱交換器の自動換気切り替え機能の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"機器表","仕様書"]
[null,null,null,null,null,null,"該当なし",null,null,"⑧予熱時外気取入れ停止の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","仕様書"]
[null,null,null,null,"様式\nC-3",null,"二次ﾎﾟﾝﾌﾟ",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,"□","C-3",null,"③1台当たりの設計流量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"該当なし",null,null,"④変流量制御の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","機器表","カタログ等"]
[null,null,null,null,"様式\nC-4",null,"空調送風機",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,"□","C-4",null,"③1台当たりの設計風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"該当なし",null,null,"④変風量制御の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","機器表","カタログ等"]
[null,"換気\n設備",null,null,"様式\nD",null,null,null,null,"③換気対象室の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(換気)","平面図(空調換気)","平面図","求積図"]
[null,null,null,null,null,null,null,null,null,"④第一･二･三種換気方式",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","機器表"]
[null,null,null,null,null,null,null,null,null,"⑥台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)","機器表","系統図"]
[null,null,null,null,null,null,null,null,null,"⑦一台当たりの送風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,null,null,null,null,null,null,null,null,"⑧一台当たりの「電動機出力」又は「電動機入力」又は「消費電力」",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,null,null,null,null,null,null,null,null,"電動機出力等の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(換気)"]
[null,null,null,null,null,null,null,null,null,"⑨高効率電動機",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,null,null,null,null,null,"□","D",null,"高効率電動機（⑨）根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","仕様書(換気)"]
[null,null,null,null,null,null,"該当なし",null,null,"⑩送風量制御",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","仕様書","仕様書(換気)"]
[null,"照明\n設備",null,null,"様式\nE",null,null,null,null,"③照明対象室の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図(照明)","平面図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑤照明器具一台当たりの消費電力",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図"]
[null,null,null,null,null,null,null,null,null,"照明器具の消費電力の根拠",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(照明)"]
[null,null,null,null,null,null,null,null,null,"（","□","JIS C 8105-3による",null,null,null,"□","ガイド114による",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,"⑥台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(照明)","平面図(意匠)","平面図"]
[null,null,null,null,null,null,null,null,null,"・⑦在室検知制御",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,null,null,null,"・⑧明るさ制御",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,"□","E",null,"・⑨タイムスケジュール制御",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,"該当なし",null,null,"・⑩初期照度補正機能",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,"給湯\n設備",null,null,"様式\nF",null,null,null,null,"④台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,null,null,null,"⑤熱源能力（定格加熱能力/台）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,null,null,null,"⑥熱源能力（定格消費電力/台）"]
[null,null,null,null,null,null,null,null,null,"⑦熱源能力（定格燃料消費量/台）"]
[null,null,null,null,null,null,null,null,null,"熱源能力の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(衛生)"]
[null,null,null,null,null,null,"□","F",null,"⑧配管保温仕様（管径）（保温材厚さ）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,"該当なし",null,null,"⑨自動給湯栓・節湯B1（小流量吐水機構の有する水栓）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,"昇降機\n設備",null,null,"様式\nG",null,"□","G",null,"②交流帰還制御方式・可変電圧可変周波数制御方式（回生なし・回生あり）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(昇降機)","昇降機図","平面図"]
[null,null,null,null,null,null,"該当なし"]
[null,"太陽光発電",null,null,"様式\nH",null,null,null,null,"②太陽電池の種類",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,null,null,null,"③アレイの設置方式",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,null,null,null,"④（標準太陽電池アレイ出力）又は\n　（太陽電池モジュール出力/枚×枚数）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,"売電有"]
[null,null,null,null,null,null,null,null,null,"モジュール出力等の根拠（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(太陽光)"]
[null,null,null,null,null,null,"□","H",null,"⑤パネルの設置方位角",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(太陽光)","パネル図","配置図"]
[null,null,null,null,null,null,"該当なし",null,null,"⑥パネルの設置傾斜角",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)","パネル図","断面図"]
[null,"ｺｰｼﾞｪﾈﾚｰｼｮﾝ\n設備",null,null,"様式\nI",null,null,null,null,"②一台当たりの定格発電出力",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"定格発電出力の根拠（・JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"③台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）","系統図"]
[null,null,null,null,null,null,null,null,null,"④発電効率",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"⑤排熱効率",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,"□","I",null,"発電効率・排熱効率の近経（・JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,"該当なし",null,null,"⑥排熱利用先",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"配置図","平面図","仕様書（コジェネ）","系統図"]
[]
[null,"【入力内容等連絡事項欄】",null,null,null,null,null,null,null,null,null,null,null,"必要に応じて作成してください（複数モデルの場合は主要モデルにて記載）"]
[null,"（1）入力内容等（入力内容・支援ツール出力内容・設計内容）において、連絡すべき点を記載してください。"]
[null,"様式ｼｰﾄ",null,null,null,"連絡すべき内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"根拠等の説明（根拠は図書内で確認できる必要があります）"]
[null,"様式A⑩",null,null,null,null,"「計算対象外とする室」が存在する",null,null,null,null,null,null,null,null,null,null,null,null,null,"室名称",null,null,null,null,"該当する計算対象外の室（プルダウン又は入力）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"工場等における物品を製造するための室"]
[null,null,null,null,null,null,"※モデル建物法で計算対象とならない室は除く",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"生産エリアの室と機能的に切り離すことができないスペース"]
[null,null,null,null,null,null,"※室名称で判断できる場合は記載しなくてもよい",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"冷凍室、冷蔵室、定温室（室全体であるもの）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"水処理設備、焼却設備等が設置された室"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"電気事業、熱供給事業等を目的として電気や熱等を生産、供給するための室"]
[null,"様式C-2",null,null,null,null,"AC13・AC16の入力内容が右記いずれかの理由により「無」と判断できるため、様式C-2は作成しない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"全熱交換器があるが、採用率が明らかに0.8を下回るため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"データセンターにおける電算機室"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"予熱時外気取り入れ機能を有する送風機のみあるが、採用率が明らかに0.8を下回るため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"温熱環境や空気質等を高度に制御する必要がある室（クリ\nーンルーム等）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,"(",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,")",null,null,false,"実験室、動物園、水族館、遊園地、博物館等の特殊な温熱･視環境などの室"]
[null,"様式D",null,null,null,null,"評価対象室に単相の送風機が存在する",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機械式駐車場（従属用途も含む、吊上式自動車車庫や機械式立体自動車車庫等）"]
[null,null,null,null,null,null,null,"単相の送風機入力をすべて省略している",null,null,null,null,null,null,null,null,null,null,null,null,"・「単相の送風機は省略してもよい」とマニュアルに記載があるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"防災、安全、防犯、避難又はその他特殊な用途のための室"]
[null,null,null,null,null,null,null,"単相の送風機入力を省略していない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"免震、制震設備等が設置された室"]
[null,"様式D⑨⑩",null,null,null,null,"制御系の選択肢をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・制御系を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"非常用の発電設備、バックアップ用機器等が設置された室"]
[null,"様式E⑦～⑩",null,null,null,null,"制御系の選択肢をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・制御系を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"水害等の災害対策のために設けられた室"]
[null,"様式F",null,null,null,null,"家庭用程度の湯沸しがある為、入力していない",null,null,null,null,null,null,null,null,null,null,null,null,null,"・家庭用程度の湯沸し（流し台・ﾐﾆｷｯﾁﾝ等）は入力しないとマニュアルに記載があるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式F④",null,null,null,null,"同一の給湯熱源機器が複数用途に対して使用される",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"①理由…給湯量を勘案して按分を行った(按分式等を設計図書に添付の事)"]
[null,null,null,null,null,null,null,"①熱源機器の台数は、按分を用いた",null,null,null,null,null,null,null,null,null,null,null,null,null,"②理由…計算に用いる熱源効率に影響がないため按分を行わない"]
[null,null,null,null,null,null,null,"②熱源機器の台数は、按分を用いなかった",null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,"（",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"）",null,null,false]
[null,"様式F⑧",null,null,null,null,"配管保温仕様をすべて「裸管」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・配管保温仕様を「裸管」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式F⑨",null,null,null,null,"節湯器具をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・節湯器具を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式G",null,null,null,null,"昇降機の速度制御方式の仕様が未定（既存の場合不明）の為、「交流帰還制御等」を選択した",null,null,null,null,null,null,null,null,null,null,null,null,null,"・「交流帰還制御等」とすることで不利側の結果となるため"]
[]
[null,"（2）該当設備がない場合以外で入力シートを作成しない場合、理由を記載してください。",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,"作成していないシートがある（該当設備がない場合以外）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,false,false,false,false,false]
[null,null,"作成しないシート",null,null,null,null,null,"様式B-1",null,null,"様式B-2",null,null,"様式B-3",null,null,"様式C-1",null,null,"様式C-2",null,null,"様式C-3",null,null,"様式C-4",null,null,"様式D",null,null,"様式E",null,null,"様式F",null,null,"様式G",null,null,"様式H",null,null,null,false,false,false,false,false,false]
[null,null,"理由記載欄",null,null,null,null,null,"様式I",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[]
[]
[null,"（3）その他　自由記載欄（上記の補足説明や、伝えておきたいこと。記載欄が不足の場合、別紙に記入）"]
[]
[]
[]
[null,"【BELS評価における設計内容記載事項の確認】"]
[null,"□","・BPI及びBEIの値は、「エネルギー消費性能計算プログラムの出力票」による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"□","・ZEBに関する事項で、再生可能エネルギー除き、加えそれぞれのBEIの値は、「エネルギー消費性能計算プログラムの出力票」による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,"　（ZEBマークに関する表示を選択した場合に限る）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"再エネ除くBEIｍ",null,null,null,null,null,null,null,null,null,null,"再エネ除く　削減率",null,null,null,null,null,null,{"$f":"IF(AD145=\"\",\"\",(1-$AD$145)*100)","v":""},null,null,"％"]
[null,null,"全量売電を行っていない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"再エネ含むBEIｍ",null,null,null,null,null,null,null,null,null,null,"再エネ含む　削減率",null,null,null,null,null,null,{"$f":"IF(AD146=\"\",\"\",(1-$AD$146)*100)","v":""},null,null,"％",null,null,false]

{"sheet":"別紙（その他自由記載欄）","index":1,"n_rows":2,"n_cols":2,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
[null,"設計内容説明書【詳細版】　（別紙）"]
[null,"（3）その他　自由記載欄　"]

{"sheet":"設計内容（記入例）","index":2,"n_rows":146,"n_cols":58,"rows_kept":146,"cut":false,"hidden":false,"merged":[[5,1,6,3],[0,1,0,37],[0,39,0,42],[1,1,1,11],[1,13,1,41],[2,1,2,11],[2,13,2,41],[5,37,6,39],[5,40,6,42],[6,8,6,13],[5,4,6,7],[5,8,5,36],[7,40,7,42],[8,8,13,13],[8,15,8,19],[8,21,8,25],[8,27,8,31],[8,33,8,35],[9,15,9,19],[9,21,9,25],[6,14,6,31],[11,15,11,19],[7,15,7,19],[7,33,7,35],[10,15,10,19],[10,21,10,25],[10,27,10,31],[9,27,9,31],[22,1,23,3],[22,4,23,5],[22,6,22,42],[23,6,23,8],[23,9,23,24],[23,25,23,29],[23,30,23,34],[23,35,23,42],[9,33,9,36],[21,14,21,42],[11,21,11,25],[11,27,11,31],[12,15,12,19],[12,21,12,25],[12,27,12,31],[13,15,13,17],[13,19,13,24],[13,27,13,31],[16,33,16,36],[17,33,18,36],[26,30,26,34],[26,35,26,42],[27,9,27,20],[27,21,27,24],[27,25,27,29],[27,30,27,34],[27,35,27,42],[24,30,24,34],[24,35,24,42],[25,9,25,20],[25,21,25,24],[25,25,25,29],[25,30,25,34],[25,35,25,42],[24,9,24,20],[24,21,24,24],[24,25,24,29],[26,9,26,20],[26,21,26,24],[26,25,26,29],[28,21,28,24],[28,25,28,29],[28,30,28,34],[28,35,28,42],[29,1,45,3],[29,4,35,5],[29,6,32,8],[29,9,29,20],[29,21,30,24],[29,25,29,29],[24,1,28,3],[24,4,28,5],[24,6,28,8],[28,9,28,20],[32,9,32,20],[32,25,32,29],[32,30,32,34],[33,9,33,20],[33,25,33,29],[33,30,33,34],[29,30,29,34],[29,35,30,42],[30,9,30,20],[30,25,30,29],[30,30,30,34],[31,9,31,20],[31,21,33,24],[31,25,31,29],[31,30,31,34],[31,35,33,42],[34,9,34,20],[34,21,35,24],[34,25,34,29],[34,30,34,34],[34,35,35,42],[35,6,35,8],[35,11,35,13],[35,15,35,17],[35,25,35,29],[35,30,35,34],[36,4,40,5],[36,6,38,8],[36,9,36,20],[36,21,38,24],[36,25,36,29],[36,30,36,34],[39,9,39,20],[39,21,40,24],[39,25,39,29],[39,30,39,34],[39,35,40,42],[40,6,40,8],[40,11,40,13],[40,15,40,17],[40,25,40,29],[40,30,40,34],[36,35,38,42],[37,9,37,20],[37,25,37,29],[37,30,37,34],[38,9,38,20],[38,25,38,29],[38,30,38,34],[41,4,45,5],[41,6,43,8],[41,9,41,20],[41,21,42,24],[41,25,41,29],[41,30,41,34],[44,9,44,20],[44,21,44,24],[44,25,44,29],[44,30,44,34],[44,35,44,42],[45,6,45,8],[45,9,45,20],[45,21,45,24],[45,25,45,29],[45,30,45,34],[45,35,45,42],[41,35,42,42],[42,9,42,20],[42,25,42,29],[42,30,42,34],[43,9,43,20],[43,21,43,24],[43,25,43,29],[43,30,43,34],[43,35,43,42],[46,30,46,34],[46,35,46,42],[47,9,47,20],[47,21,47,24],[47,25,47,29],[47,30,47,34],[47,35,47,42],[46,1,64,3],[46,4,52,5],[46,6,48,8],[46,9,46,20],[46,21,46,24],[46,25,46,29],[48,9,48,20],[48,21,48,24],[48,25,48,29],[54,25,54,29],[48,30,48,34],[48,35,48,42],[49,9,49,20],[49,21,51,24],[49,25,49,29],[49,30,49,34],[49,35,49,42],[50,9,50,20],[50,25,50,29],[50,30,50,34],[50,35,50,42],[51,9,51,20],[51,25,51,29],[51,30,51,34],[51,35,51,42],[52,6,52,8],[52,9,52,20],[52,21,52,24],[52,25,52,29],[52,30,52,34],[54,30,54,34],[54,35,54,42],[55,9,55,20],[55,21,55,24],[55,25,55,29],[55,30,55,34],[55,35,55,42],[52,35,52,42],[53,4,58,5],[53,6,55,8],[53,9,53,20],[53,21,53,24],[53,25,53,29],[53,30,53,34],[53,35,53,42],[54,9,54,20],[54,21,54,24],[58,6,58,8],[58,9,58,20],[58,21,58,24],[58,25,58,29],[58,30,58,34],[58,35,58,42],[56,9,56,20],[56,21,56,24],[56,25,56,29],[56,30,56,34],[56,35,56,42],[57,9,57,20],[57,21,57,24],[57,25,57,29],[57,30,57,34],[57,35,57,42],[59,35,59,42],[60,9,60,20],[60,21,60,24],[60,25,60,29],[60,30,60,34],[60,35,60,42],[59,4,61,5],[59,6,59,8],[59,9,59,20],[59,21,59,24],[59,25,59,29],[59,30,59,34],[61,6,61,8],[61,9,61,20],[61,21,61,24],[61,25,61,29],[61,30,61,34],[61,35,61,42],[62,4,64,5],[62,6,62,8],[62,9,62,20],[62,21,62,24],[62,25,62,29],[62,30,62,34],[62,35,62,42],[63,9,63,20],[63,21,63,24],[63,25,63,29],[63,30,63,34],[63,35,63,42],[64,6,64,8],[64,9,64,20],[64,21,64,24],[64,25,64,29],[64,30,64,34],[64,35,64,42],[65,1,68,3],[65,4,68,5],[65,6,67,8],[65,9,65,20],[65,21,65,24],[65,25,65,29],[67,9,67,20],[67,21,67,24],[67,25,67,29],[67,30,67,34],[67,35,67,42],[68,9,68,20],[68,21,68,24],[68,25,68,29],[68,30,68,34],[68,35,68,42],[65,30,65,34],[65,35,65,42],[66,9,66,20],[66,21,66,24],[66,25,66,29],[66,30,66,34],[66,35,66,42],[69,35,69,42],[70,9,70,20],[70,21,70,24],[70,25,70,29],[70,30,70,34],[70,35,70,42],[69,1,73,3],[69,4,73,5],[69,9,69,20],[69,21,69,24],[69,25,69,29],[69,30,69,34],[71,9,71,20],[71,21,71,24],[71,25,71,29],[71,30,71,34],[73,6,73,8],[73,9,73,20],[73,21,73,24],[73,25,73,29],[73,30,73,34],[73,35,73,42],[71,35,71,42],[72,9,72,20],[72,21,72,24],[72,25,72,29],[72,30,72,34],[72,35,72,42],[74,35,74,42],[75,9,75,20],[75,21,75,24],[75,25,75,29],[75,30,75,34],[75,35,75,42],[74,1,82,3],[74,4,82,5],[74,9,74,20],[74,21,74,24],[74,25,74,29],[74,30,74,34],[76,9,76,20],[76,21,77,24],[76,25,76,29],[76,30,76,34],[78,35,78,42],[79,9,79,20],[79,21,82,24],[79,25,79,29],[79,30,79,34],[79,35,82,42],[76,35,76,42],[77,11,77,14],[77,16,77,19],[77,25,77,29],[77,30,77,34],[77,35,77,42],[80,9,80,20],[80,25,80,29],[80,30,80,34],[81,9,81,20],[81,25,81,29],[81,30,81,34],[78,9,78,20],[78,21,78,24],[78,25,78,29],[78,30,78,34],[82,6,82,8],[82,9,82,20],[82,25,82,29],[82,30,82,34],[83,1,89,3],[83,4,89,5],[83,9,83,20],[83,21,83,24],[83,25,83,29],[83,30,83,34],[86,25,86,29],[86,30,86,34],[87,9,87,20],[87,21,87,24],[87,25,87,29],[87,30,87,34],[83,35,83,42],[84,9,84,20],[84,21,86,24],[84,25,84,29],[84,30,84,34],[84,35,86,42],[85,9,85,20],[85,25,85,29],[85,30,85,34],[86,9,86,20],[89,6,89,8],[89,9,89,20],[89,21,89,24],[89,25,89,29],[89,30,89,34],[89,35,89,42],[87,35,87,42],[88,9,88,20],[88,21,88,24],[88,25,88,29],[88,30,88,34],[88,35,88,42],[92,1,98,3],[92,4,98,5],[92,9,92,20],[92,21,92,24],[92,25,92,29],[92,30,92,34],[90,1,91,3],[90,4,91,5],[90,9,91,20],[90,21,91,24],[90,25,90,29],[90,30,90,34],[92,35,92,42],[93,9,93,20],[93,21,93,24],[93,25,93,29],[93,30,93,34],[93,35,93,42],[90,35,91,42],[91,6,91,8],[91,25,91,29],[91,30,91,34],[97,35,97,42],[94,9,95,20],[94,21,95,24],[94,25,94,29],[94,30,94,34],[94,35,94,42],[95,6,95,8],[95,25,95,29],[95,30,95,34],[95,35,95,42],[111,1,111,4],[111,6,111,19],[111,20,111,24],[111,25,111,42],[112,6,112,19],[112,20,112,24],[112,25,112,42],[107,1,107,12],[109,1,109,4],[109,5,109,19],[109,20,109,42],[110,1,110,4],[110,6,110,19],[110,20,110,24],[110,25,110,42],[113,20,113,24],[113,25,113,42],[114,20,114,24],[114,25,114,42],[115,1,115,4],[115,6,117,19],[115,21,115,42],[116,21,116,42],[117,1,117,4],[117,21,117,23],[120,1,120,4],[120,7,120,19],[121,1,121,4],[121,6,121,19],[121,20,121,42],[122,1,122,4],[122,6,122,19],[122,20,122,42],[117,25,117,41],[118,1,118,4],[118,6,118,19],[119,1,119,4],[119,7,119,19],[119,20,119,42],[126,1,126,4],[126,7,126,19],[126,21,126,23],[126,25,126,41],[123,1,123,4],[123,6,123,19],[123,20,123,42],[124,1,124,4],[124,6,124,19],[124,21,124,42],[7,1,18,3],[7,4,18,7],[16,8,18,13],[7,37,18,39],[17,23,17,30],[18,24,18,30],[14,8,15,13],[133,8,133,9],[133,11,133,12],[133,14,133,15],[133,17,133,18],[133,35,133,36],[133,38,133,39],[127,6,127,19],[127,20,127,42],[133,23,133,24],[133,26,133,27],[133,29,133,30],[133,32,133,33],[133,20,133,21],[133,2,133,6],[128,1,128,4],[128,6,128,19],[128,20,128,42],[99,1,105,3],[99,4,105,5],[99,9,99,20],[99,21,99,24],[99,25,99,29],[99,30,99,34],[101,9,101,20],[144,39,144,41],[136,7,136,42],[138,1,138,42],[144,21,144,28],[134,2,136,6],[135,7,135,42],[133,41,133,42],[144,29,144,31],[144,32,144,38],[129,1,129,4],[129,6,130,19],[129,20,129,42],[130,1,130,4],[127,1,127,4],[125,1,125,4],[125,7,125,19],[125,21,125,42],[99,35,99,42],[100,9,100,20],[100,21,100,24],[100,25,100,29],[100,30,100,34],[100,35,100,42],[14,15,14,31],[15,15,15,31],[7,8,7,13],[98,6,98,8],[98,9,98,20],[98,21,98,24],[98,25,98,29],[98,30,98,34],[98,35,98,42],[96,9,96,20],[96,21,96,24],[96,25,96,29],[96,30,96,34],[96,35,96,42],[97,9,97,20],[97,21,97,24],[97,25,97,29],[97,30,97,34],[101,35,101,42],[102,9,102,20],[102,21,102,24],[102,25,102,29],[102,30,102,34],[102,35,102,42],[103,9,103,20],[103,21,103,24],[101,21,101,24],[101,25,101,29],[101,30,101,34],[105,6,105,8],[105,9,105,20],[105,21,105,24],[105,25,105,29],[105,30,105,34],[105,35,105,42],[103,25,103,29],[103,30,103,34],[103,35,103,42],[104,9,104,20],[104,21,104,24],[104,25,104,29],[104,30,104,34],[104,35,104,42],[145,21,145,28],[145,29,145,31],[145,32,145,38],[145,39,145,41],[134,8,134,9],[134,10,134,42],[139,1,139,42],[142,2,142,42],[143,2,143,42],[144,2,144,20]]}
[null,"設計内容説明書【詳細版】 モデル建物法用（省エネ適合性判定・ＢＥＬＳ兼用）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ver.1.0",null,null,null,null,null,"⇒列　非表示にする"]
[null,"建築物の名称",null,null,null,null,null,null,null,null,null,null,null,"○○ビル新築工事",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設定"]
[null,"設計者（等）氏名",null,null,null,null,null,null,null,null,null,null,null,"適判山　ベル男",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"・黄色部分を入力可能"]
[]
[null,"【基本事項】"]
[null,"確認\n事項",null,null,"確認\n項目",null,null,null,"設計内容説明欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"備考",null,null,"確認欄\n（※2）"]
[null,null,null,null,null,null,null,null,"項目",null,null,null,null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記載図書"]
[null,"建物等の概要",null,null,"計算条件",null,null,null,"適用する計算方法",null,null,null,null,null,"☑","モデル建物法",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","出力票",null,null,null,null,null,null,"□適"]
[null,null,null,null,null,null,null,null,"申請の対象となるモデル建物用途\n（複数選択可能）",null,null,null,null,null,"□","事務所",null,null,null,null,"□","ﾋﾞｼﾞﾈｽﾎﾃﾙ",null,null,null,null,"□","シティホテル",null,null,null,null,"□","出力票"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","総合病院",null,null,null,null,"□","福祉施設",null,null,null,null,"□","クリニック",null,null,null,null,"□",null,null,null,null,null,null,null,null,null,null,null,null,null,85]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","大規模物販",null,null,null,null,"□","小規模物販",null,null,null,null,"□","学校"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","大学",null,null,null,null,"□","講堂",null,null,null,null,"□","幼稚園"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","飲食店",null,null,null,null,"□","工場",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"【集会所プルダウン表示】"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","集会所",null,null,"（",null,null,null,null,null,null,"）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"アスレチック場","体育館","公衆浴場","映画館","図書館","博物館","劇場","カラオケボックス","ボーリング場","ぱちんこ屋","競馬場又は競輪場","寺社"]
[null,null,null,null,null,null,null,null,"モデル建物を選択した根拠",null,null,null,null,null,"□","建築基準法における建築物用途からモデル建物を選択",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"使い方"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","実際の建築物の状況に応じてモデル建物を選択",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"図面名はデフォルトとしてもらってよい"]
[null,null,null,null,null,null,null,null,"既存部分のﾃﾞﾌｫﾙﾄ又は結果の利用（※1）",null,null,null,null,null,"□","無",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"出力票",null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","有",null,"既存部分のBEI",null,null,null,null,"（",null,null,null,null,null,null,null,null,")","□","副本及び通知書等の写し",null,null,null,null,null,null,null,null,null,null,null,null,null,"1.2 ※デフォルト値","1.1　※2016年4月1日以降に新築"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"結果利用する制度",null,null,null,null,null,"（",null,null,null,null,null,null,null,"）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"省エネ適合性判定","届出","性能向上計画認定","表示認定","低炭素建築物認定","BELS"]
[null,"※1…既存建築物の場合のみ記入（BELSの場合ﾃﾞﾌｫﾙﾄ値の仕様は不可）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※2…評価機関記入欄"]
[]
[null,"【設計内容】",null,null,null,null,null,null,null,null,null,null,null,null,"※3…記載図書の補足として活用（図書名のみでは記載内容が分かりづらい場合、図番を具体的に記載）"]
[null,"確認\n事項",null,null,"ｼｰﾄ\n種別",null,"設計内容説明欄"]
[null,null,null,null,null,null,"項目",null,null,"設計内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"主な記載図書名",null,null,null,null,"主な記載図番No（※3）",null,null,null,null,"備考（図面の明示内容、他）"]
[null,"計算\n対象\n部分",null,null,"様式\nＡ",null,"長さ・面積等",null,null,"⑩計算対象部分の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"平面図(意匠)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑪計算対象部分空調対象面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"空調対象面積求積図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","空調平面図","空調対象面積求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑬計算対象部分の階高",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"立面図",null,null,null,null,"A-08",null,null,null,null,"赤囲みによる明示",null,null,null,null,null,null,null,null,null,null,"断面図(意匠)","矩計図","立面図","断面図"]
[null,null,null,null,null,null,null,null,null,"⑭計算対象部分の外周長さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"省エネ用求積図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑮計算対象部分の非空調コア部",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"省エネ用求積図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図","求積図","省エネ用求積図"]
[null,"躯体の外皮性能等",null,null,"様式\nB-1",null,"開口部の性能",null,null,"・②③幅×高さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"建具表",null,null,null,null,"A-28～30",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具表","仕様書","立面図"]
[null,null,null,null,null,null,null,null,null,"・④面積"]
[null,null,null,null,null,null,null,null,null,"・⑤⑥建具の種類・ｶﾞﾗｽの種類",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"建具表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"建具表","仕様書","立面図","カタログ等"]
[null,null,null,null,null,null,null,null,null,"・⑤⑦⑧建具の種類・ｶﾞﾗｽの熱貫流率・ｶﾞﾗｽの日射熱取得率"]
[null,null,null,null,null,null,null,null,null,"・⑨⑩窓の熱貫流率・窓の日射熱取得率"]
[null,null,null,null,null,null,"□","B-1",null,"建具仕様の根拠　",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"建具表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"建具表","根拠資料一覧表","カタログ等","仕様書(建具)","仕様書"]
[null,null,null,null,null,null,"該当なし",null,null,"（","□","JIS等による",null,null,"□","仕様による",null,null,"）"]
[null,null,null,null,"様式\nB-2",null,"外壁等の性能",null,null,"・③④⑥（断熱材の種類・厚み）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,"熱貫流率の値は、「無の場合の値」を活用し入力",null,null,null,null,null,null,null,null,null,null,"仕様書","断面図","断熱範囲図","カタログ等"]
[null,null,null,null,null,null,null,null,null,"・⑤⑥（断熱材の熱伝導率・厚み）"]
[null,null,null,null,null,null,null,null,null,"・⑦（外壁等の熱貫流率）"]
[null,null,null,null,null,null,"□","B-2",null,"断熱材仕様の根拠　",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"断面図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","矩計図","断面図"]
[null,null,null,null,null,null,"該当なし",null,null,"（","□","JIS等による",null,null,"□","仕様による",null,null,"）"]
[null,null,null,null,"様式\nB-3",null,"外皮の仕様及び面積",null,null,"・③④幅×高さ",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"断熱範囲図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"立面図","断面図","断熱範囲図"]
[null,null,null,null,null,null,null,null,null,"・⑤面積"]
[null,null,null,null,null,null,null,null,null,"⑧建具等個数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"平面図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(建具)","平面図","建具配置図","平面図(省エネ)"]
[null,null,null,null,null,null,"□","B-3",null,"⑨ブラインドの有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"建具表",null,null,null,null,"A-28～30",null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"建具表","平面図","ブラインド配置図","建具配置図"]
[null,null,null,null,null,null,"該当なし",null,null,"⑩日除け効果係数（冷房・暖房）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"算出ﾂｰﾙ+建具表",null,null,null,null,"A15・A28～30",null,null,null,null,"庇寸法は立面図に強調記載",null,null,null,null,null,null,null,null,null,null,"算出ﾂｰﾙ+立面図","算出ﾂｰﾙ+断面図","算出ﾂｰﾙ+建具表"]
[null,"空調\n設備",null,null,"様式\nC-1",null,"空調熱源",null,null,"②選択可能熱源機種名",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"熱源機種の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"③台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"④熱源能力（定格能力/台）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"機器表",null,null,null,null,"M-02",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,null,null,null,"⑤熱源能力（定格消費電力/台）"]
[null,null,null,null,null,null,"□","C-1",null,"⑥熱源能力（定格燃料消費量/台）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,null,null,null,null,"該当なし",null,null,"熱源能力値の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)","機器表"]
[null,null,null,null,"様式\nC-2",null,"空調外気処理",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"③④設計給気風量・設計排気風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"⑤⑥全熱交換効率（冷房時）（暖房時）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,null,null,null,"全熱交換効率の根拠　（･JIS B 8628による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"□","C-2",null,"⑦全熱交換器の自動換気切り替え機能の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"機器表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"機器表","仕様書"]
[null,null,null,null,null,null,"該当なし",null,null,"⑧予熱時外気取入れ停止の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"機器表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","仕様書"]
[null,null,null,null,"様式\nC-3",null,"二次ﾎﾟﾝﾌﾟ",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,"□","C-3",null,"③1台当たりの設計流量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"該当なし",null,null,"④変流量制御の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","機器表","カタログ等"]
[null,null,null,null,"様式\nC-4",null,"空調送風機",null,null,"②台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機器表","系統図","仕様書"]
[null,null,null,null,null,null,"□","C-4",null,"③1台当たりの設計風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true,"仕様書","根拠資料一覧表","カタログ等","仕様書(空調)"]
[null,null,null,null,null,null,"該当なし",null,null,"④変風量制御の有無",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","機器表","カタログ等"]
[null,"換気\n設備",null,null,"様式\nD",null,null,null,null,"③換気対象室の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"平面図(換気)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(換気)","平面図(空調換気)","平面図","求積図"]
[null,null,null,null,null,null,null,null,null,"④第一･二･三種換気方式",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","機器表"]
[null,null,null,null,null,null,null,null,null,"⑥台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)","機器表","系統図"]
[null,null,null,null,null,null,null,null,null,"⑦一台当たりの送風量",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,"換気\n設備",null,null,"様式\nD",null,null,null,null,"⑧一台当たりの「電動機出力」又は「電動機入力」又は「消費電力」",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,null,null,null,null,null,null,null,null,"電動機出力等の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(換気)"]
[null,null,null,null,null,null,null,null,null,"⑨高効率電動機",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(換気)"]
[null,null,null,null,null,null,"□","D",null,"高効率電動機（⑨）根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","根拠資料一覧表","カタログ等","仕様書(換気)"]
[null,null,null,null,null,null,"該当なし",null,null,"⑩送風量制御",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"制御図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図","仕様書","仕様書(換気)"]
[null,"照明\n設備",null,null,"様式\nE",null,null,null,null,"③照明対象室の床面積",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"平面図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(意匠)","平面図(省エネ)","平面図(照明)","平面図","省エネ用求積図"]
[null,null,null,null,null,null,null,null,null,"⑤照明器具一台当たりの消費電力",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書(照明)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図"]
[null,null,null,null,null,null,null,null,null,"照明器具の消費電力の根拠",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(照明)"]
[null,null,null,null,null,null,null,null,null,"（","□","JIS C 8105-3による",null,null,null,"□","ガイド114による",null,null,null,"）"]
[null,null,null,null,null,null,null,null,null,"⑥台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"平面図(照明)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"平面図(照明)","平面図(意匠)","平面図"]
[null,null,null,null,null,null,null,null,null,"・⑦在室検知制御",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,"赤囲みによる明示",null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,null,null,null,"・⑧明るさ制御",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"制御図",null,null,null,null,"E-12",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,"□","E",null,"・⑨タイムスケジュール制御",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,null,null,null,null,null,"該当なし",null,null,"・⑩初期照度補正機能",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書(照明)","照明器具姿図","制御図","平面図(照明)"]
[null,"給湯\n設備",null,null,"様式\nF",null,null,null,null,"④台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"衛生器具表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,null,null,null,"⑤熱源能力（定格加熱能力/台）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"機器表",null,null,null,null,"M-15",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,null,null,null,"⑥熱源能力（定格消費電力/台）"]
[null,null,null,null,null,null,null,null,null,"⑦熱源能力（定格燃料消費量/台）"]
[null,null,null,null,null,null,null,null,null,"熱源能力の根拠　（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(衛生)"]
[null,null,null,null,null,null,"□","F",null,"⑧配管保温仕様（管径）（保温材厚さ）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"機器表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,null,null,null,null,null,"該当なし",null,null,"⑨自動給湯栓・節湯B1（小流量吐水機構の有する水栓）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書(衛生)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(衛生)","衛生器具表","機器表"]
[null,"昇降機\n設備",null,null,"様式\nG",null,"□","G",null,"②交流帰還制御方式・可変電圧可変周波数制御方式（回生なし・回生あり）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書(昇降機)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(昇降機)","昇降機図","平面図"]
[null,null,null,null,null,null,"該当なし"]
[null,"エネルギー利用効率化設備",null,null,"様式\nH",null,null,null,null,"②太陽電池の種類",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,null,null,null,"③アレイの設置方式",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,null,null,null,"④（標準太陽電池アレイ出力）又は\n　（太陽電池モジュール出力/枚×枚数）",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"仕様書",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)"]
[null,null,null,null,null,null,"売電有"]
[null,null,null,null,null,null,null,null,null,"モジュール出力等の根拠（･JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,"根拠資料一覧表",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","根拠資料一覧表","カタログ等","仕様書(太陽光)"]
[null,null,null,null,null,null,"□","H",null,"⑤パネルの設置方位角",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"配置図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"仕様書","仕様書(太陽光)","パネル図","配置図"]
[null,null,null,null,null,null,"該当なし",null,null,"⑥パネルの設置傾斜角",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,"断面図",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","仕様書(太陽光)","パネル図","断面図"]
[null,"ｺｰｼﾞｪﾈﾚｰｼｮﾝ\n設備",null,null,"様式\nI",null,null,null,null,"②一台当たりの定格発電出力",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"定格発電出力の根拠（・JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"③台数",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）","系統図"]
[null,null,null,null,null,null,null,null,null,"④発電効率",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,null,null,null,"⑤排熱効率",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,"□","I",null,"発電効率・排熱効率の近経（・JIS等による）",null,null,null,null,null,null,null,null,null,null,null,"－",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"仕様書","計装図","根拠資料一覧表","仕様書(コジェネ）"]
[null,null,null,null,null,null,"該当なし",null,null,"⑥排熱利用先",null,null,null,null,null,null,null,null,null,null,null,"出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"配置図","平面図","仕様書（コジェネ）","系統図"]
[]
[null,"【入力内容等連絡事項欄】",null,null,null,null,null,null,null,null,null,null,null,"必要に応じて作成してください（複数モデルの場合は主要モデルにて記載）"]
[null,"（1）入力内容等（入力内容・支援ツール出力内容・設計内容）において、連絡すべき点を記載してください。"]
[null,"様式ｼｰﾄ",null,null,null,"連絡すべき内容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"根拠等の説明（根拠は図書内で確認できる必要があります）"]
[null,"様式A⑩",null,null,null,null,"「計算対象外とする室」が存在する",null,null,null,null,null,null,null,null,null,null,null,null,null,"室名称",null,null,null,null,"該当する計算対象外の室（プルダウン又は入力）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true,"工場等における物品を製造するための室"]
[null,null,null,null,null,null,"※モデル建物法で計算対象とならない室は除く",null,null,null,null,null,null,null,null,null,null,null,null,null,"1F○○室",null,null,null,null,"工場等における物品を製造するための室",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"生産エリアの室と機能的に切り離すことができないスペース"]
[null,null,null,null,null,null,"※室名称で判断できる場合は記載しなくてもよい",null,null,null,null,null,null,null,null,null,null,null,null,null,"2F冷凍倉庫",null,null,null,null,"冷凍室、冷蔵室、定温室（室全体であるもの）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"冷凍室、冷蔵室、定温室（室全体であるもの）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"1F駐車場",null,null,null,null,"機械式駐車場（従属用途も含む、吊上式自動車車庫や機械式立体自動車車庫等）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"水処理設備、焼却設備等が設置された室"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"電気事業、熱供給事業等を目的として電気や熱等を生産、供給するための室"]
[null,"様式C-2",null,null,null,null,"AC13・AC16の入力内容が右記いずれかの理由により「無」と判断できるため、様式C-2は作成しない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"全熱交換器があるが、採用率が明らかに0.8を下回るため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"データセンターにおける電算機室"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"予熱時外気取り入れ機能を有する送風機のみあるが、採用率が明らかに0.8を下回るため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"温熱環境や空気質等を高度に制御する必要がある室（クリ\nーンルーム等）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,"(",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,")",null,null,true,"実験室、動物園、水族館、遊園地、博物館等の特殊な温熱･視環境などの室"]
[null,"様式D",null,null,null,null,"評価対象室に単相の送風機が存在する",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"機械式駐車場（従属用途も含む、吊上式自動車車庫や機械式立体自動車車庫等）"]
[null,null,null,null,null,null,null,"単相の送風機入力をすべて省略している",null,null,null,null,null,null,null,null,null,null,null,null,"・「単相の送風機は省略してもよい」とマニュアルに記載があるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"防災、安全、防犯、避難又はその他特殊な用途のための室"]
[null,null,null,null,null,null,null,"単相の送風機入力を省略していない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"免震、制震設備等が設置された室"]
[null,"様式D⑨⑩",null,null,null,null,"制御系の選択肢をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・制御系を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,"非常用の発電設備、バックアップ用機器等が設置された室"]
[null,"様式E⑦～⑩",null,null,null,null,"制御系の選択肢をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・制御系を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true,"水害等の災害対策のために設けられた室"]
[null,"様式F",null,null,null,null,"家庭用程度の湯沸しがある為、入力していない",null,null,null,null,null,null,null,null,null,null,null,null,null,"・家庭用程度の湯沸し（流し台・ﾐﾆｷｯﾁﾝ等）は入力しないとマニュアルに記載があるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式F④",null,null,null,null,"同一の給湯熱源機器が複数用途に対して使用される",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"①理由…給湯量を勘案して按分を行った(按分式等を設計図書に添付の事)"]
[null,null,null,null,null,null,null,"①熱源機器の台数は、按分を用いた",null,null,null,null,null,null,null,null,null,null,null,null,null,"②理由…計算に用いる熱源効率に影響がないため按分を行わない"]
[null,null,null,null,null,null,null,"②熱源機器の台数は、按分を用いなかった",null,null,null,null,null,null,null,null,null,null,null,null,null,"その他",null,null,"（",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"）",null,null,false]
[null,"様式F⑧",null,null,null,null,"配管保温仕様をすべて「裸管」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・配管保温仕様を「裸管」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式F⑨",null,null,null,null,"節湯器具をすべて「無」として評価している",null,null,null,null,null,null,null,null,null,null,null,null,null,"・節湯器具を「無」とすることで不利側の結果となるため",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"様式G",null,null,null,null,"昇降機の速度制御方式の仕様が未定（既存の場合不明）の為、「交流帰還制御等」を選択した",null,null,null,null,null,null,null,null,null,null,null,null,null,"・「交流帰還制御等」とすることで不利側の結果となるため"]
[]
[null,"（2）該当設備がない場合以外で入力シートを作成しない場合、理由を記載してください。",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true]
[null,null,"作成していないシートがある（該当設備がない場合以外）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false,false,false,false,false,true]
[null,null,"作成しないシート",null,null,null,null,null,"様式B-1",null,null,"様式B-2",null,null,"様式B-3",null,null,"様式C-1",null,null,"様式C-2",null,null,"様式C-3",null,null,"様式C-4",null,null,"様式D",null,null,"様式E",null,null,"様式F",null,null,"様式G",null,null,"様式H",null,null,null,true,false,false,true,true,false]
[null,null,"理由記載欄",null,null,null,null,null,"様式I",null,"様式G…油圧式エレベーターのみの為",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,null,null,null,null,null,null,"様式F…給湯仕様が未決定の為作成していない。（シートはHW2に「指定しない」を直入力）完了検査時までに変更対応予定"]
[null,null,null,null,null,null,null,"様式C-3・C-4…空調方式は中央熱源方式ですが、変流量制御及び変風量制御が「無」である為"]
[null,"（3）その他　自由記載欄（上記の補足説明や、伝えておきたいこと。記載欄が不足の場合、別紙に記入）"]
[]
[]
[]
[null,"【BELS評価における設計内容記載事項の確認】",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true]
[null,"□","・BPI及びBEIの値は、「エネルギー消費性能計算プログラムの出力票」による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,false]
[null,"□","・ZEBに関する事項で、再生可能エネルギー除き、加えそれぞれのBEIの値は、「エネルギー消費性能計算プログラムの出力票」による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,true]
[null,null,"　（ZEBマークに関する表示を選択した場合に限る）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"再エネ除くBEI",null,null,null,null,null,null,null,0.5,null,null,"再エネ除く　削減率",null,null,null,null,null,null,{"$f":"IF(AD145=\"\",\"\",(1-$AD$145)*100)","v":50},null,null,"％"]
[null,null,"全量売電を行っていない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"再エネ含むBEI",null,null,null,null,null,null,null,0,null,null,"再エネ含む　削減率",null,null,null,null,null,null,{"$f":"IF(AD146=\"\",\"\",(1-$AD$146)*100)","v":100},null,null,"％",null,null,true]

{"sheet":"バージョン情報","index":3,"n_rows":8,"n_cols":3,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
["日付","リリースバージョン","改訂内容"]
["2018.10.4","ver.0.5","新規"]
["2018.11.2","ver.1.0","110行目　C-2　その他記入欄追加"]
[null,null,"チェックボックスクリアボタン実装"]
["2021.09.09","Ver.2.0","コージェネレーション設備の追加"]
[null,null,"既存部分のBEI値、利用制度名入力欄追加"]
["2022.09.26","Ver.2.1","全量売電を行っていないチェックボックス追加"]
[null,null,"削減率の自動算定欄追加"]